Reporting:

- Confirm that the suspected failure did, in fact, occur.

- Report breach to the following:

  - Manager

  - Institution’s designated infection control personnel

  - Institution’s risk management department or equivalent

  - Local/State public health agencies

  - The Food and Drug Administration (FDA)

  - The Centers for Disease Control and Prevention (CDC)

  - Manufacturers of the involved equipment.

Institutions Responsibility to Patient:

- Patients at risk should be notified in a timely manner of the breach and the estimated risk of infection.

- Develop a script to be used in notification to ensure all patients receive the same information.

- Notification should include:

  - Risk assessment of risk

  - Possible adverse events that may occur

  - Symptoms and signs of the adverse event

  - Time period for the adverse event

  - Risk to other contacts

  - Possible prophylactic therapy (risks and benefits)

  - How the problem will be corrected

  - Recommended medical follow up

- Document successful or attempted notification.

- Early serologic testing is imperative to distinguish prior infection(s) from those potentially acquired as a result of the breach in the high-level disinfection protocol.

- A toll-free helpline should be established to provide information to all patients at risk.

- Personal counseling should be offered to all patients.

- Patients should be advised against donating blood and tissue products and engaging in sexual contact without barrier protection until all serologic testing is complete.

- Patients should be asked whether they developed new symptoms suggestive of transmission of enteric bacteria or viruses following the endoscopic procedure.

- Baseline serologic testing for hepatitis B, hepatitis C, and HIV should be performed and patients should be informed about their baseline serology results in a timely manner.

- Institutions may consider obtaining follow-up testing at 6 weeks, 3 months, and 6 months post procedure.

Staff Responsibilities:

- Personnel involved in disinfection/sterilization investigate the cause.

- Initiate the evaluation of potential patient exposures.

- Create a list (line map) of all patients potentially affected.

- Initiate corrective actions to correct the reprocessing deficiencies.

- Assess reprocessing processes/practices and train staff to prevent recurrence.

References:

Reprocessing failure [Guideline]. (2007). Gastrointestinal Endoscopy, 66( 5): 869-871.